## Лист1
1000 | Voltage0
1002 | Voltage1
1004 | Voltage2
1006 | Voltage3
1008 | Voltage4
1010 | Voltage5
1012 | Current0
1014 | Current1
1016 | Current2
1018 | Current3
1020 | Current4
1022 | Current5
1024 | Current6
1026 | Current7
1028 | Current8
1030 | Current9
1032 | Current10
1034 | Current11
1036 | Current12
1038 | Current13
1040 | Current14
1042 | Current15
1044 | Current16
1046 | Current17
1048 | Current18
1050 | Current19
1052 | Real_power0
1054 | Real_power1
1056 | Real_power2
1058 | Real_power3
1060 | Real_power4
1062 | Real_power5
1064 | Real_power6
1066 | Real_power7
1068 | Real_power8
1070 | Real_power9
1072 | Real_power10
1074 | Real_power11
1076 | Real_power12
1078 | Real_power13
1080 | Real_power14
1082 | Real_power15
1084 | Real_power16
1086 | Real_power17
1088 | Real_power18
1090 | Real_power19
1092 | Reactive_power0
1094 | Reactive_power1
1096 | Reactive_power2
1098 | Reactive_power3
1100 | Reactive_power4
1102 | Reactive_power5
1104 | Reactive_power6
1106 | Reactive_power7
1108 | Reactive_power8
1110 | Reactive_power9
1112 | Reactive_power10
1114 | Reactive_power11
1116 | Reactive_power12
1118 | Reactive_power13
1120 | Reactive_power14
1122 | Reactive_power15
1124 | Reactive_power16
1126 | Reactive_power17
1128 | Reactive_power18
1130 | Reactive_power19
1132 | Apparent_power0
1134 | Apparent_power1
1136 | Apparent_power2
1138 | Apparent_power3
1140 | Apparent_power4
1142 | Apparent_power5
1144 | Apparent_power6
1146 | Apparent_power7
1148 | Apparent_power8
1150 | Apparent_power9
1152 | Apparent_power10
1154 | Apparent_power11
1156 | Apparent_power12
1158 | Apparent_power13
1160 | Apparent_power14
1162 | Apparent_power15
1164 | Apparent_power16
1166 | Apparent_power17
1168 | Apparent_power18
1170 | Apparent_power19
1172 | Power_factor0
1174 | Power_factor1
1176 | Power_factor2
1178 | Power_factor3
1180 | Power_factor4
1182 | Power_factor5
1184 | Power_factor6
1186 | Power_factor7
1188 | Power_factor8
1190 | Power_factor9
1192 | Power_factor10
1194 | Power_factor11
1196 | Power_factor12
1198 | Power_factor13
1200 | Power_factor14
1202 | Power_factor15
1204 | Power_factor16
1206 | Power_factor17
1208 | Power_factor18
1210 | Power_factor19
1212 | Energy0
1214 | Energy1
1216 | Energy2
1218 | Energy3
1220 | Energy4
1222 | Energy5
1224 | Energy6
1226 | Energy7
1228 | Energy8
1230 | Energy9
1232 | Energy10
1234 | Energy11
1236 | Energy12
1238 | Energy13
1240 | Energy14
1242 | Energy15
1244 | Energy16
1246 | Energy17
1248 | Energy18
1250 | Energy19
1252
1253
1254
1255
1256
1257
1258
1259
1260
1261
1262
1263
1264
1265
1266
1267
1268
1269
1270
1271
1272